## Slide 1
DBCP National Report
DBCP – 37, VIRTUAL, 8-11 November 2021
Makaoui@inrh,ma

## Slide 2: Current Programme
Ahmed Makaoui/Agency INRH - Casablanca
01 METOCEAN buoy
Purpose of programm: Monitoring of Moroccan coastal upwelling phenomenon
Main deployment areas: Moroccan south coastal area
Vandalism incidents: two incidents
- First, it was saved (march 2017 after 5 month of mooring)
- Second: it was damaged (August 2018 after 5 days mooring)

## Slide 3: Planned Programme(s)
Name/INRH
Same METOCEAN buoy: Repaired
Purpose of program: Impact of Coastal upwelling on Dakhla bay ecosystem
Main deployment areas: Dakhla bay

## Slide 4: Technical Developments
METOCEAN Buoy: Repaired
Instrumentations:
Météorologics sensors
Wind sensor with compas;
Atmosphérique pressure sensor;
Air temperature sensor;
Océanographics sensors
capteur de waves and ADCP sensors;
Multi paramèter sensor for water température, conductivity, salinity, dissolved oxygène, turbidity and fluorescence;
pH sensor;
IRIDIUM satellite systèm for communication, GPS and AIS modules for positionnement;

## Slide 5: Publications & User Impact
Hilmi and al., 2017. Circulation Marine de la Baie de Cintra (Sud du Maroc) par Modèle Hydrodynamique 2D. European Scientific Journal April 2017 edition Vol.13, No.12 ISSN: 1857 – 7881 (Print) e - ISSN 1857- 7431 175.
Makaoui and al, 2017. Caractéristiques hydro sédimentaires de la baie de Cintra (Sud - Maroc). INTERNATIONAL JOURNAL OF ADVANCED RESEARCH (IJAR) IJAR-18467. ISSN: 2320-5407 Int. J. Adv. Res. 5(7), 2055-2068.

## Slide 6: Additional Comments
QC
Communications
Buoy Lifetime: Since October 2016,
Data Accessibility: satellite IRIDIUM, positionnement by GPS et AIS

## Slide 7: Additional Comments (continued)
New Observations: Oceanographic Cruises (02 by year)
Additional Requirements: ADCOP Mooring
DBCP linkage: Not yet
…

## Slide 8: Thank you!